## OEE
All data logged against Date, Time, Shift & Recipe name (Part number)
| Example | Remark
Part Number | FF0555131 | Operator will entered these key in parameters
Cycle time for part | 1.5 | Operator will entered these key in parameters in recipe
Plan Production quantity | 3000 | Either Operator entered or will take it from Oracle as per E work order
Rejection quantity | 15 | Operator will entered these key in parameters
Total Production | 2960 | This will get from PLC to SQL data base
Per shift down time in seconds | 1800 | This will get from PLC to SQL data base
Per shift available time in seconds | 27600 | It is fixed value
PPM | 5067.5676 | Calculate by using available data
Machine Downtime in % | 6.5217
Production Compliance % | 98.6667
VSM UPTIME in % | 93.4783
RFT | 99.4932
OEE | 91.7645
Auto Cycle ON & OFF time logged against Part number in data base like below table
Date & Time | Part number | Cycle OFF Time (seconds) | Cycle ON Time (seconds)
12-06-23 05:55:50(AM) | LF0905031 | 5.7 | 6.3
12-06-23 05:55:59(AM) | LF0905031 | 7.3 | 6.5
12-06-23 05:56:05(AM) | LF0905031 | 6 | 6.5
12-06-23 06:27:19(AM) | LF0905031 | 207.7 | 5.6
12-06-23 06:27:25(AM) | LF0905031 | 5.8 | 5.6
12-06-23 06:27:46(AM) | LF0905031 | 20.1 | 6.4
12-06-23 06:27:52(AM) | LF0905031 | 6.6 | 6.4
12-06-23 06:28:00(AM) | LF0905031 | 7.2 | 6.2
12-06-23 06:28:06(AM) | LF0905031 | 6 | 6.2
| Total Time | 272.4 | 55.7
| Avg Cycle time | 30.2667 | 6.1889
At Report analysis, OFF time bifurcation required as below |  | OEE report display as per below different requirements
OFF time bifurcation | 6 | 1) Operator select
OFF time less than 6.5 Sec | 4 | Date, Shift, Part number. (This is for part number specific)
OFF time less than 8 Sec | 3 | 2) Operator select
OFF time less than 15 Sec | 0 | Date, Shift. (This is for shift)
OFF time less than 60 Sec | 1 | 3) Operator select Date. (This is for all 3 shift)
OFF time More than 60 Sec | -2 | 4) Operator select week. (This is for 1 week)
OFF time More than 300 Sec | 0 | 5) Operator select month. (This is for 1 month)
As per above selection report display either in pie chart or bar chart or donut chart
Cause | % Loss Of Time
Run At rate | 0.298%
Operator skill | 4.587%
Minor Fatigue | 17.47%
RM Collection | 26.31%
Unknown | 35.05%
Break Time Adherence | 16.28%

## Mapping
OEE calculation of Paint Booth at New J Hook line
PLC to software communication is on SLMP protocol
Sr. No. | Description | Address
1 | Total Production count against Recipe | D5102 |  | New Recipe write done | D5100 | When new recipe select then Software will write 1 value in this register & after 500 msec PLC will write 0.
2 | Auto Cycle ON time | D5104 |  | PLC & Software communication check | D5101 | To check the PLC & Software communication status; software write 0 & 1 alternate in this register with 500 msec cycle. PLC check if 0 or 1 not change for 2 seconds then declare that there communication break alarm.
3 | Auto Cycle OFF time | D5106
4 | Auto Cycle ON time pick value to software | D5108 |  |  | IP Address details
5 | Auto Cycle OFF time pick value to software | D5109 |  |  | PLC | 192.168.3.250
6 | Not use | D5110 |  |  | HMI | 192.168.3.18
7 | Not use | D5111 |  |  | PC | 192.168.3.19
8 | Convection zone 1 Temp (ᵒC) | D5112 | D2655
9 | Convection zone 2 Temp (ᵒC) | D5114 | D2668
10 | Convection zone 3 Temp (ᵒC) | D5116 | D2525
11 | Cooling zone 1 Temp (ᵒC) | D5118 | D2681
12 | Cooling zone 2 Temp (ᵒC) | D5120 | D2707
Auto Cycle ON time
Auto Cycle OFF time

## Format
Data Input Format:
|  |  | Key in parameter | Key in parameter | Key in parameter | From PLC | Key in parameter | Substraction in Software | From PLC | From PLC | Need to calculate in software by using ON time | Need to calculate in software by using OFF time | Key in parameter selection from drop down list | From PLC | From PLC | From PLC | From PLC | From PLC | Key in parameter | Key in parameter | Key in parameter | Key in parameter | Key in parameter | Key in parameter | Key in parameter | Key in parameter | Key in parameter | Key in parameter
| Date | Time | Part Number (Recipe) | Cycle time for part (seconds) | Plan Production quantity | Total Production quantity | Rejection quantity | OK Production quantity | Cycle ON Time | Cycle OFF Time | Per shift down time in seconds | Per shift down time in seconds | Remarks for OFF Time | Convection zone 1 Temp (ᵒC) | Convection zone 2 Temp (ᵒC) | Convection zone 3 Temp (ᵒC) | Cooling zone 1 Temp (ᵒC) | Cooling zone 2 Temp (ᵒC) | Paint Batch No. | Thinner Batch No. | Raw Paint Viscocity (Seconds) | Paint Viscocity (Seconds) | Seam DFT (micron) | Mid 1 DFT (micron) | Mid 2 DFT (micron) | Upper 1 DFT (micron) | Upper 2 DFT (micron) | Dome DFT (micron)
Data Type |  |  | Alphanumeric | Floating point | Integer | Integer | Integer | Integer |  |  | Integer | Integer | String | Integer | Integer | Integer | Integer | Integer | Alphanumeric | Alphanumeric | Floating | Floating | Integer | Integer | Integer | Integer | Integer | Integer
| 2025-04-04 | 10:30 | LF0905099 | 1.7 | XXXXXX | XXXXX | XXXX | XXXXX | XXXXX | XXXXX |  |  | Material shortage | XXX | XXX | XXX | XXX | XXX | PN234LA | TN050425EM | XX.XX | XX.XX | XX | XX | XX | XX | XX | XX